## Coordinate Plane
| Readiness Score | Impact Score
Grid Planning
Capital Allocations | 3.3333 | 3.6667
Grid Capacity | 2 | 4.6667
Transportation & Energy | 1.3333 | 3
Interconnection | 2.3333 | 4
Siting and Permitting
Zoning and Local Permits | 2.3333 | 3.6667
Federal Reviews | 3.3333 | 4.3333
SME Review Support | 2.3333 | 3.3333
Operations and Reliability
Load and Supply Matching | 3 | 4.3333
Predictive Maintenance | 5 | 3.6667
Operational Safety | 2.6667 | 2.6667
Resilience
Self-healing Infrastructure | 3.3333 | 4
Anomalous Events | 4.6667 | 4.6667
Situation Awareness | 3.3333 | 4
DER Resilience | 2.3333 | 4
High-Impact / High-Readiness
Low-Impact / High-Readiness
Low-Impact / Low-Readiness
High-Impact / Low-Readiness
Grid Planning
Siting and Permitting
Operations and Reliability
Resilience

## Scoring Matrix Summary
| Readiness Scale |  |  |  | Impact Scale
| "Can we deploy this AI use case now (or very soon) in the current grid landscape?" |  |  |  | "If we deployed this AI use case at scale, how much value would it create?"
| Technical | Financial | Regulatory | Average | Value | Leverage | Fit | Average | Scoring Categories
Grid Planning | 3 | 2 | 1.75 | 2.25 | 4.25 | 4.25 | 3 | 3.8333 | Readiness
Capital Allocations and Planned Upgrades | 4 | 3 | 3 | 3.3333 | 4 | 4 | 3 | 3.6667 | Technical - Is the AI solution mature, validated, and performant?
Improved Information on Grid Capacity | 3 | 2 | 1 | 2 | 5 | 5 | 4 | 4.6667 | Financial - Is it cost-effective and fundable (via CapEx, OpEx, or rate recovery)?
Improved Transportation and Energy Planning Alignment | 2 | 1 | 1 | 1.3333 | 3 | 4 | 2 | 3 | Regulatory - Can it be deployed under existing rules, with institutional buy-in?
Interconnection Issues and Power System Models | 3 | 2 | 2 | 2.3333 | 5 | 4 | 3 | 4
Siting and Permitting | 3.3333 | 2.3333 | 2.3333 | 2.6667 | 4.3333 | 3 | 4 | 3.7778 | Impact
Zoning and Local Permitting Analysis | 3 | 2 | 2 | 2.3333 | 4 | 3 | 4 | 3.6667 | Value - Does this AI solution reduce costs, outages, emissions, or delays in a measurable way?
Federal Environmental Review Accelerations | 4 | 3 | 3 | 3.3333 | 5 | 4 | 4 | 4.3333 | Leverage - Does it enable or unlock broader grid modernization (e.g., DERs, GETs, VPPs)?
AI Models to Assist Subject Matter Experts in Reviews | 3 | 2 | 2 | 2.3333 | 4 | 2 | 4 | 3.3333 | Fit - Is AI the right or necessary tool to solve this compared to conventional tools?
Operations and Reliability | 4 | 3.3333 | 3.3333 | 3.5556 | 3.6667 | 3 | 4 | 3.5556
Load and Supply Matching | 4 | 3 | 2 | 3 | 4 | 5 | 4 | 4.3333 | Scoring Scale (0-5)
Predictive and Risk-Informed Maintenance | 5 | 5 | 5 | 5 | 4 | 2 | 5 | 3.6667 | Readiness
Operational Safety and Issues Reporting and Analysis | 3 | 2 | 3 | 2.6667 | 3 | 2 | 3 | 2.6667 | 5 - Fully deployable, with minimal barriers
Resilience | 4 | 3 | 3.25 | 3.4167 | 5 | 4.25 | 3.25 | 4.1667 | 3 - Partially deployable, but with key limitations
Self-healing Infrastructure for Reliability and Resilience | 4 | 3 | 3 | 3.3333 | 5 | 4 | 3 | 4 | 1 - Not realistically deployable without major changes or innovation
Detection and Diagnosis of Anomalous Events | 5 | 4 | 5 | 4.6667 | 5 | 4 | 5 | 4.6667
AI-Enabled Situation Awareness and Actions for Resilience | 4 | 3 | 3 | 3.3333 | 5 | 4 | 3 | 4 | Impact
Resilience with Distributed Energy Resources | 3 | 2 | 2 | 2.3333 | 5 | 5 | 2 | 4 | 5 - Major, system-wide benefit; high leverage; AI is critical to success
3 - Moderate or localized benefit; AI is helpful but not essential
1 - Limited or narrow benefit; AI adds little beyond current tools

## Category Scoring Breakdown
Category Scoring Breakdown
Grid Planning
Capital Allocations and Planned Upgrades
Technical | 4 | AI-enabled capital planning platforms are deployed in utility pilots and limited operations. Functional and validated, but not yet widespread.
Financial | 3 | These tools improve investment efficiency and can be rate-based under current CapEx planning norms. No major cost barriers exist.
Regulatory | 3 | PUCs generally allow flexibility in IRP methods; regulators are increasingly receptive to data-driven planning tools.
Value | 4 | Optimizes infrastructure spending, reduces overbuild, and improves long-term reliability. High potential system benefit.
Leverage | 4 | Enables more precise DER integration, distribution upgrades, and hosting capacity strategies.
Fit | 3 | AI is well-suited to optimizing multi-variable planning decisions, though not indispensable. Traditional modeling could still perform reasonably.
Improved Information on Grid Capacity
Technical | 3 | AI can enhance hosting capacity analysis, but relies on granular distro/substation data many utilities still lack.
Financial | 2 | Requires high initial investment in sensors, telemetry, and model integration; lacks strong short-term ROI without regulatory mandates.
Regulatory | 1 | Only a few states require public hosting capacity data. Utilities (and regulators) often resist making granular grid data public.
Value | 5 | Enables better siting and interconnection, helping avoid overloads and accelerating DER deployment.
Leverage | 5 | Improves planning, permitting, interconnection, and even resilience outcomes.
Fit | 4 | AI’s strength in processing geospatial, load, and real-time data makes it well-suited for this task. Not strictly essential, but strongly beneficial.
Improved Transportation and Energy Planning Alignment
Technical | 2 | Tools exist (NREL's EVI-X), but utility integration is limited.
Financial | 1 | No standard funding mechanism or cost recovery method, joint infrastructure planning is limited.
Regulatory | 1 | Utilities, DOTs, States operate in silos with uncoordinated processes.
Value | 3 | Can help improve access equity for EV charging and grid upgrade planning.
Leverage | 4 | Co-optimized planning could support grid upgrades, load management, and infrastructure equity.
Fit | 2 | AI adds unique value to forecast models, but institutional coordination bottleneck is significant.
Interconnection Issues and Power System Models
Technical | 3 | AI-based modeling tool are emerging, but not widely used/trusted.
Financial | 2 | DOE and RTOs are funding pilots, but full-market cost effectiveness (utility incentives) is untested.
Regulatory | 2 | PUC and RTO filings require explainability; black-box AI-models raises procedural concerns.
Value | 5 | Can dramatically reduce interconnection timelines (years to weeks) and improve modeling precision.
Leverage | 4 | Frees up bottlenecks that stall transmission and clean energy buildout.
Fit | 3 | AI helps accelerate complex modeling, but hybrid approaches are more trusted in practice.
Siting and Permitting
Zoning and Local Permitting Analysis
Technical | 3 | Tools exist (private companies) for interpreting zoning patterns, but vary widely across US.
Financial | 2 | Medium cost & high ROI for private developers, but adoption depends on local juridiction. No standard funding channels.
Regulatory | 2 | No federal/legal barriers, but highly fragmented local ordinances, institutional acceptance is uneven, and few state-level mandates.
Value | 4 | Local permitting & zoning is often largest hurdle to development, identification or viable sites early is critical.
Leverage | 3 | Enables faster DER + renewable deploymen, but doesn't influence interconection or other process challenges.
Fit | 4 | AI is well suited to near-term ordiance document review & geospatial analysis.
Federal Environmental Review Acceleration
Technical | 4 | AI/NLP tools are functional for summarization and classification of EIS content; DOE, CEQ, and university pilots underway.
Financial | 3 | Relatively low cost, but adoption depends on internal budgets and data structuring needs at multiple agencies.
Regulatory | 3 | Legally permissible, but adoption still depends on internal risk tolerance and workforce trust across dozens of agenices.
Value | 5 | Speeds up a top bottleneck in clean energy permitting, one of DOE and FPISC highest priorities.
Leverage | 4 | Enables coordination across agencies and informs permitting reform efforts.
Fit | 4 | AI is excellent at document summarization, but not yet reliable for legal metadata extraction or interpretation (NEPA EA/EIS) without human review.
AI Models to Assist Subject Matter Experts in Reviews
Technical | 3 | LLMs can assist with document review and form validation, but hallucination risk limits full autonomy.
Financial | 2 | Cost-effective, but adoption requires federal or state agency willingness to experiment; often not budgeted.
Regulatory | 2 | No formal restriction, but widespread skepticism persists for tools that touch official review or compliance decisions.
Value | 4 | Reduces bottlenecks in routine review, helps humans focus on judgment-intensive tasks.
Leverage | 2 | Doesn't accelerate broader workflows unless paired with larger process reform.
Fit | 4 | LLMs can support SME workflows, but hallucination risks and explainability concerns prevent autonomous use.
Operations and Reliability
Load and Supply Matching
Technical | 4 | Short-term forecasting tools are mature, but not universally integrated into control room operations.
Financial | 3 | Cost-effective when curtailment is high, but ROI depends on local system variability and scale.
Regulatory | 2 | Operators and regulators still require transparency in dispatch decisions; black-box models face scrutiny.
Value | 4 | Improves operational efficiency and grid stability, especially in high-VRE environments.
Leverage | 5 | Enables broader DER coordination, curtailment reduction, and demand-side flexibility.
Fit | 4 | AI is helpful, but in some more traditional (fossil) systems, simpler forecasting tools may suffice.
Predictive & Risk Informed Maintenance
Technical | 5 | Widely deployed in industrial sectors; utilities increasingly use these tools for transformer health, breaker aging, etc.
Financial | 5 | Easily fits within existing O&M budgets and AMI/SCADA modernization plans.
Regulatory | 5 | No external regulatory review required; entirely within utility discretion.
Value | 4 | Reduces asset failure and maintenance costs; improves safety and O&M efficiency.
Leverage | 2 | Mostly benefits internal utility workflows, mainly 'inside the fence', doesn't unlock grid-wide changes.
Fit | 5 | AI is a clear consistency improvement over manual or rule-based asset inspection and replacement.
Operational Safety and Issues Reporting and Analysis
Technical | 3 | LLMs and NLP are usable for parsing incident logs and compliance reports, but require internal adaptation.
Financial | 2 | Low ROI for utiltities leads to low prioritization, adoption, and buy-in.
Regulatory | 3 | Use is allowed, but workforce trust and audit trail concerns can limit deployment in safety-critical contexts.
Value | 3 | Improves workforce and operational safety, but benefits are indirect and hard to quantify.
Leverage | 2 | Mainly 'inside the fence', doesn't unlock grid-wide changes.
Fit | 3 | AI is well suited for document and log parsing, but rarely essential.
Resilience
Self-healing Infrastructure for Reliability and Resilience
Technical | 4 | Widely piloted, especially in microgrids and resilient feeders, but not ubiquitous in full networks.
Financial | 3 | Requires investment in reclosers, switches, and automation; often tied to capital resilience planning.
Regulatory | 3 | Allowed, but automatic reconfiguration still reviewed internally and occasionally questioned in outage response audits.
Value | 5 | Significantly reduces outages and accelerates restoration during grid disturbances.
Leverage | 4 | Supports distributed resilience strategies, including microgrids and DER islanding.
Fit | 3 | Can support switching, but controls are still operator focused.
Detection and Diagnosis of Anomalous Events
Technical | 5 | PMU and SCADA based event detection tools are deployed in several utilities and ISO pilots.
Financial | 4 | High ROI from avoided outages; costs are moderate when telemetry infrastructure exists.
Regulatory | 5 | No regulatory barriers; tools function within existing fault monitoring and system protection roles.
Value | 5 | Critical for outage response and system protection during abnormal grid conditions.
Leverage | 4 | Supports grid observability, fault response, DER coordination, and event learning.
Fit | 5 | AI outperforms rules-based detection for subtle or nonlinear grid anomalies.
AI-enabled Situational Awareness and Actions for Resilience
Technical | 4 | Real-time dashboards and AI-driven alerts exist, demonstration FOA at DOE, but full system integration remains uneven.
Financial | 3 | High value during events, but requires investments in edge telemetry and control systems.
Regulatory | 3 | Trusted for alerting, but AI-directed automation still faces operator trust and procedural hurdles.
Value | 5 | Improves operator insight and response during storms, wildfires, and peak demand events.
Leverage | 4 | Enables more advanced coordination with DERs, emergency response systems, and flexible loads.
Fit | 3 | lacks institutional trust for real-time operations.
Resilience with Distributed Energy Resources
Technical | 3 | Tools exist for forecasting and dispatch, but coordination complexity across owners, devices, and aggregators is high.
Financial | 2 | DER integration platforms are expensive and require interconnection reform or performance compensation schemes.
Regulatory | 2 | Aggregation, dispatch, and islanding raise compliance and operational trust issues under existing interconnection rules.
Value | 5 | Enables customer-level backup, grid flexibility, and faster recovery from outages.
Leverage | 5 | Key enabler of DER resilience strategies, equitable restoration, and faster response times.
Fit | 2 | DER coordination is primarily a procedural, not computational challenge.

## Scoring Scale Rubrics
Detailed Scoring Rubrics for Each Scoring Category
Readiness Scoring Scale
Technical Readiness
5 | Commercial tools are deployed at scale by multiple utilities or system operators with ongoing vendor support.
4 | Tools are commercially available and deployed in some utilities or pilot regions; validated performance data exists.
3 | Functional prototypes exist and have been piloted in real-world conditions, but are not yet standard practice.
2 | Solutions exist in simulation or lab settings only; limited real-world validation.
1 | Mostly theoretical or early R&D stage with no operational demonstrations.
0 | No known development or use of AI in this context.
Financial Readiness
5 | Solution is demonstrably cost-effective and recoverable under existing CapEx, OpEx, or rate-based mechanisms.
4 | Financially viable under typical utility conditions; may require moderate investment or planning process changes.
3 | Economic case is marginal or unclear; requires external support (e.g., grants) or cost-sharing to deploy.
2 | High upfront cost or uncertain ROI; currently only supported in demonstration contexts.
1 | Significant costs with no viable recovery or investment pathway.
0 | No pricing, cost, or recovery pathway exists.
Regulatory Readiness
5 | Can be deployed today under existing rules and standards without special permissions or waivers.
4 | Generally compatible with regulatory frameworks, but may require minor procedural clarification or approvals.
3 | Use is possible but likely to raise procedural, transparency, or precedent concerns from regulators.
2 | Requires regulatory innovation, waivers, or sandboxes for even limited deployment.
1 | Faces strong regulatory resistance or conflicts with existing rules/mandates.
0 | Prohibited by current rules or legal frameworks.
Impact Scoring Scale
Value
5 | Addresses a critical grid-wide challenge (e.g., outages, emissions, cost); impact is scalable and measurable.
4 | Delivers significant localized or categorical benefit; measurable and repeatable.
3 | Offers moderate improvements to efficiency, insight, or workflow speed.
2 | Limited scope of benefit; small-scale or indirect.
1 | Minimal or speculative system benefit.
0 | No expected impact or utility.
Leverage
5 | Enables or accelerates other major grid functions (e.g., DER integration, GET application, VPP connection).
4 | Supports other processes in meaningful but limited ways.
3 | Offers marginal benefit to adjacent functions.
2 | Little interaction or enabling effect beyond primary use case.
1 | Entirely siloed; no influence on other planning or operational goals.
0 | Counterproductive to other grid modernization efforts.
Fit
5 | AI is essential; conventional tools are insufficient or vastly inferior.
4 | AI provides clear added value vs. traditional approaches.
3 | AI is helpful but not essential; other tools could perform the task.
2 | AI use is marginal or unnecessarily complex.
1 | AI does not improve upon existing solutions.
0 | AI is an inappropriate or unworkable tool for this problem.